## Slide 2: Project Highlights
Project Name : EU MDR REMEDIATION FOR NEONATAL HYDROGEL SENSOR AND POSITIONING STRIP
Team Size : 4
BU Mentor Name : Mr. Vaibhav Jadhav Mentor PS#: 20157065
GEA Mentor Name: Mr Sandeep Talya and Mr Bharath G
Team Members Details (Professional Stamp Size Photo with few lines of individual briefing
Gagan N
PS#: 99002610
GENESIS Track Code: 2009BLRMED01
Education Details : B.E. (ECE)
Professional Skills C, C++, Python
Puneeth Gowda SR
PS# 99002621
GENESIS Track Code: 2009BLRMED01
Education Details B.E. (EEE)
Professional Skills C, C++, Python
Shivam Kumar
PS# 99002712
2009BRDMEED02
B.tech in Mechanical Eng.
Professional Skills C, C++, Python
Gowthaman V
PS# 99002714
2009BRDMED02
B.E Mechanical Engg
Professional Skills Solidworks, Creo

## Slide 3: Contents
Problem Statement
Scope
Overview
Key deliverables
Challenges​
Learning outcome
Conclusion​
​

## Slide 4: EU MDR and Design History File
EU MDR - The European Medical Device Regulation (EU MDR) ensures high standards of quality and safety for medical devices being produced or supplied into Europe.
It is to have a fundamental revision in 2017/745 to better identify medical devices products and improve transparency through standard data, technological advances and the establishment of an EU database (Eudamed).
Design History File (DHF): The compilation of records which describes the design history of finished product.
The DHF covers the design activities used to develop the device, accessories, major components, labeling, packaging and production processes.

## Slide 5: Problem Statement
Consult customer and obtain detailed user requirements.
Neonatal Hydrogel Sensors and Positioning Strip documents are not meeting EU-MDR requirements.
Need to update or create documents as per EU MDR compliance.
All the QMS template and procedures updated as per the Eu MDR guidelines and provided by the customer.

## Slide 6: Scope
Prepare the EU MDR gaps for available legacy documents.
For EU MDR Remediation follow up for EU MDR guidelines and customer QMS procedure and template.
To learn design and development policy and good documentation practice.
Understand the complete PDLC of a medical product.

## Slide 7: Overview
The overview of this project is about the Neonatal Hydrogel Sensors and Positioning strips.
Product Description:
The Neonatal Hydrogel Sensors are type of adhesive electrodes which are typically used as a non-invasive method of connecting EEG equipment to a patient, carrying the signals to and from the EEG equipment as required. In this instance, the hydrogel sensor is carrying a signal to the Olympic Brainz Monitoring System. This is a Class I type device.
EEG-Electroencephalogram
The Olympic Brainz Monitor (OBM) positioning strips is to assist with the alignment of disposable surface recording electrodes. This is a Class I type device.

## Slide 8: Key Deliverables
FDR 1
  Design Planning Checklist
  Product Requirements rev01 – Puneeth Gowda SR
  Traceability Matrix
  Usability Engineering File
  Risk Management Plan
  RAS File and RM Report
  Risk Management Plan and Risk Analysis Spreadsheet
FDR 2
  Product Requirements rev02 – Puneeth Gowda SR
  Packaging and Handling & Environmental Test Plan
  Hardware Detailed Design Document
  Design Verification Plan and Protocols – Puneeth Gowda SR

## Slide 9: 1 Product Requirements Document
Purpose:
Product Requirements Document containing all the requirements of a particular product
It includes purpose, feature, functionality and behavioral of the project
Mainly it serve as a guide for business and technical team to help in build and launch the product

## Slide 10: Reference
QMS-000075- Corporate Design & Development Policy
QMS-000081- Corporate labelling requirements
DOC-040153- User Requirements
DOC-XXXXX- OBM Accessories Risk Assessment Spreadsheet

## Slide 11: Requirements characteristics
Electrical characteristics
Data and Signal characteristics, format, ranges, limits, defaults, presentation, polarity, noise
Physical characteristics
Device material, size, weight, storage and shelf life
Software characteristics
Software Data Inputs / Outputs, Data characteristics, format, ranges, limits, and defaults. Software Data definition and Database requirements
Measurements and Tolerances
requirements dealing with measurements and or tolerances
Interface requirements between hardware, software and other systems
Exchange between electronic interfaces at device and system level.

## Slide 12: Continued..
Security
Authentication, Authorization, Integrity of communication, Audit Trail, Security/Sensitive/Confidential information. Cybersecurity, Product and Data Security.
Labeling
QMS-000081 and associated labeling procedures for complete requirements
Regulatory, Safety and Standard
Markets where the product will be sold define the regulatory requirements and standards that apply (e.g. IEC, WEEE, RoHS, and REACH)
Manufacturing and Operation
Manufacturing process capabilities and needs, Purchasing - Supplier, capabilities and needs
Maintenance and Service Installation
Installation and Service, Install process, Service process and tools

## Slide 13: 2 Design Verification Plan
Purpose:
The verification plan will be used to conform that a product system meet its design specification and performance plan
Normally a verification plan would consists of Functional requirements, Design requirements and Defining coverage goals

## Slide 14: Reference
QMS-003002 – statically technique for design verification producer
DOC-039741 - OBM Accessories Product Requirements

## Slide 15: Verification Plan includes
Design Input Requirements
requirements to be tested are found in DOC-039741 (product requirement document)
Design Outputs to be verified
OBM Accessories Requirements -- Verified with the execution of DOC-039741
OBM Accessories Labels -- Verified with the execution of DOC-039741
OBM Accessories User manual -- Verified with the execution of DOC-039741
REACH and ROHS Certification

## Slide 16: Continued..
Resources
Human Resources
Tester-Create Design Verification Protocols, Maintain Traceability Matrix, Execute Design Verification Protocols, Document results of executed Protocols and Report any potential defects
Material Resources
Neonatal Hydrogel Sensor package
Olympic Brainz Monitor (OBM) positioning Strip
OBM User manual

## Slide 17: Continued..
Sample Size Decision
Non-Statistical Methods
Those requirements tested as part of design verification that are non-statistical in nature shall be clearly identified and a reason shall be given for considering them a non-statistical requirement
Non-statistical requirements require testing a single unit
Statistical Methods
Statistical methods are only required when variability is involved, For design input requirements where variation can occur
Determine Conformity Rating
The Conformity Rating depends on the potential of severity.
The Conformity Rating of 99%, 97%, and 95% shall be considered subsequently for severity levels of Major, Moderate, Minor and Negligible failures.

## Slide 18: Continued..
Verification Methods to be used
Functional Test
Measurement Test
Inspection Lab test
Acceptance Criteria
All protocols shall be executed and deviations from plan justified in the verification summary
All test records/executed protocols are reviewed and approved in Agile

## Slide 19: 3 Design Verification Protocols
The verification protocol defines how the verification activities are to be completed
The protocol includes
Developing
Execution
Report

## Slide 20: Process
Developing
The test case development will done at this stage.
All design inputs or requirements must verified by using variety of test methods.
Execution
The test procedures created during the development phase is executed in accordance with the test plan, strictly following them in verification activity
If any invalid results occur or if any procedures required modification, it is important to document the changes and get proper approval.
Tractability matrix is created to verify that all the design input identified in the verification test plan has been tested and determine the pass ratio.
Report
This activity is performed at the end of each phase of verification execution
The design verification report gives the detailed summary of verification results which includes the configuration management, test results for each type of testing and issues found during the verification activity

## Slide 21
Reference:
DOC-039741 - OBM Accessories Product Requirements
DOC-038031 - OBM Accessories Design Verification Plan
Test equipment
Signal Generator
DSO
Vernier Caliper
Measuring Tape
OBM amplifier module

## Slide 22: Challenges
Identifying verification samples and verification method.
To get familiar to different medical standards & regulation.

## Slide 23: Learnings outcome
Understanding DHF,IDP & URD .
Understanding and preparing PRD and verification plan and protocol.
Understanding other documents like DPC, PNH and Traceability Matrix.
Role of Requirement engineer.
familiar with different Medical Device standards & regulation.

## Slide 24: Conclusion
This project gave an opportunity to understand different kind of regulation for medical device, class of medical device.​
The main purpose of this project is EU MDR Remediation of OBM accessories as per EU MDR guidelines.
This project gave an opportunity to understand PDLC and TDLC of a medical product
The project provides an opportunity to understand product development process as Requirement engineer, which begins with product requirement document followed by design verification plan, design verification protocol and verification report.​
Links for final prepared documents:
Microsoft Teams
SharePoint

## Slide 25
Thank You !